## Slide 1: EVALUATION OF INFECTION PREVENTION AND CONTROL PRACTICES AT VIHIGA COUNTY HOSPITAL LABORATORY
BY:
BRIGID SOITA……… AUTHOR
BECKY SABUL………. CO-AUTHOR

## Slide 2: Introduction:
Infection control is the discipline concerned with preventing healthcare-associated infections. Identifying and controlling the factors involved with the spread of these infections, from patient-to-patient, from patients to staff, from staff to patients, and among-staff.

## Slide 3: Introduction Cont.’:
The factors include prevention (via hand hygiene, cleaning / disinfection / sterilization, vaccination and surveillance).
Laboratory-acquired infections due to a wide variety of bacteria(M. tuberculosis), viruses(HBV,HCV and HIV) fungi, and parasites

## Slide 4: Introduction Cont.’:
This study was conducted to evaluate infection prevention and control practices at Vihiga County Referral Hospital Laboratory.

## Slide 5: Method
The Kenya National biosafety checklist was used to evaluate the safety practice.
The following practices were evaluated:
  waste segregation
  Post exposure policies and procedures
  Staff vaccination
  Fire safety
  Availability and use of PPE
  Availability of safety manual
  Standard safety equipment
  Others

## Slide 6: Method cont.’
Overall results in percentage for the four years were compared.

## Slide 7: Results
The laboratory scored a total score of 20% in 2013, 35% in 2014, 55% in 2015 and 65% in 2016.
Chart: LABORATORY AUDIT SCORES FROM 2013 - 2016
| 2013 | 2014 | 2015 | 2016
SCORES | 0.2 | 0.35 | 0.55 | 0.65
Column1
Column2

## Slide 8: DISCUSSION
There was a significant improvement in overall score in 2016 as compared to 2013.This was attributed to development of safety guidelines, trainings, GIS mentorship towards accreditation and weekly monitoring and feedback mechanisms by the Hospital Infection prevention committee (IPC).

## Slide 9: DISCUSSION
However ,there was an insignificant improvement in the following areas: Ventilation ; Lack of the biosafety cabinet; Servicing of fire extinguishers and only a small fraction of staff vaccinated against Hepatitis B.

## Slide 10: Conclusion
The marked improvement was associated with the developing of guidelines, training and weekly monitoring and feedback by the Hospital Infection Prevention committee.
The authors consider this important and recommend for frequent laboratory safety audits ,IPC supervisions and refresher biosafety trainings.

## Slide 11: Acknowledgement
GIS
MSH
APHIA PLUS
COLLEAGUES

## Slide 12
THANK YOU!!!