## Slide 1: Functionality of hand wash station at the patient care areas in Kitale County Referral Hospital
Authors: Grace Mzee
    Nancy Koech
    Stella Mamuti

## Slide 2: Introduction
Good hand hygiene requires:-
  Presence of functional and well-maintained hand washing stations located in all treatment and recovery wards.
World Health Organization (WHO) recommended sink to bed ratio 1:10
Non-functional hand wash points at point of care is a significant barrier for compliance with hand hygiene protocols.
Study aim: to assess the functionality of hand wash stations at the various patient care areas at Kitale County Hospital

## Slide 3: Methods
A cross sectional study conducted at inpatient point of care areas of Kitale County Hospital in February 2023
WHO hand hygiene infrastructure tool used
Key variables assessed:
- availability of sink with running water, soap and paper towel
- bed to hand wash point ratio
- and the functionality of the hand wash points.
Data was summarized in proportions

## Slide 4: Sink to bed ratio in all wards
Chart: Ward
| Gynaecology | Male surgical | Male medical | Femal Medical | Female Surgical | Pediatrics | Postnatal | Labour Ward
Sink | 1 | 0 | 0 | 7 | 3 | 6 | 7 | 2
Beds | 12 | 31 | 27 | 27 | 21 | 35 | 38 | 13
WHO Recommended | 2 | 3 | 3 | 3 | 2 | 4 | 4 | 2

## Slide 5: Functional Handwashing stations
Chart: 
Chart: 
| Faulty sink | Running water with soap | Running water only
 | 0.31 | 0.19 | 0.5

## Slide 6: Faulty sinks

## Slide 7: Bed spacing and Nonfunctional Sink

## Slide 8: Conclusion
Functional hand wash stations according to WHO require
  Availability of running water
  Soap
  Disposal paper towel.
There were no functional hand wash stations.
Improving hand hygiene requires sustained action in multiple levels, to improve
  knowledge
  supplies
  infrastructure.

## Slide 9: Recommendation
We recommend:
  maintenance of hand wash points in the wards
  ensuring availability of hand wash supplies for sustained
  improved hand wash practice.

## Slide 10: Acknowledgement
KCRH
AMPATH